- Elements of the block diagram. Define the transfer function generation from cascade, parallel, and feedback simpler blocks.

- What is the difference between the grey and black model

- How you can choose the sample time if you know the time constants of the process field transfer function?

- Describe the small-signal linearization method. What condition is needed to use this method?

- Draw the unit step response of an integral (I), and a first order (PT1) systems! Give the transfer functions and the Bode plot of these!

- Draw the unit step response of a differential (D), and a dead time (H) systems! Give the transfer functions and the Bode plot of these!

- Draw the unit step response of a proportional (P), and a second order (PT2) systems! Give the transfer functions and the Bode plot of these!

- How you can examine the stability of the closed-loop system using the open-loop transfer function? Explain the following terms: phase margin, gain margin!

- How you can examine the stability of the closed-loop system using the closed-loop transfer function? Explain the following terms: zeros, poles, root-loci diagram!

- How you can choose the steady-state characteristics of the controller?

- Sketch the detailed block diagram of a feedback control system and define the blocks, signals and variables!

- Define the closed loop transfer functions and the opened loop transfer function of a feedback control system! Highlight what this term “system type” means?

- What determines the steady-state remaining error at setpoint tracking?

- What determines the steady-state remaining error at disturbance suppression?

- What is the goal of the compensation? What is the difference between the PIDT1 and PIPDT1 controller?

- What is the classical three-term controller? Outline the control actions associated with each of its constituent parts.

- What is the effect of increasing the gain of the feedback control loop?

- Which transfer functions are used approaching of the real reaction curve? Which is the offered type of classical three-term controller?

- How you can choose the sample time if you can't determine a limit frequency of the process field transfer function?

- Give the transfer function of The PI controller and draw its Bode diagram! Indicate the frequency which will fit to the future gain-crossover frequency on the Bode plot!

- Give the transfer function of The PDT1 controller and draw its Bode diagram! Indicate the frequency which will fit to the future gain-crossover frequency on the Bode plot!

- Sketch the main structure of a process control! Classify the control strategies! What are the points of view to choose control strategies?

- What is the dimensionless technique? What are the standard values of the signals in a control system?

- What are the main characteristics of the PLC? What is the hardware structure of the PLC?

- Highlight the role of the transmitter and the actuator in a control system!  Describe the operating principle of an actuator of your choice!

- Describe the operating principle of a level and temperature transmitter of your choice!

- Describe the structure of the user program of PLC.